I.  General information:

1.  Mission name:  SENEX 2013

2.  Instrument name: HNO3/NH3 CIMS

3.  What is measured: Nitric Acid and Ammonia (HNO3, NH3)

4.  Short description of measurement technique: Chemical Ionization Mass Spectrometry

These two measurements both use chemical ionization mass spectrometry, in which very specific reagent ions are made and used to electrostatically cluster with either nitric acid or ammonia in a sample stream.  These cluster ions are drawn into separate mass spectrometer vacuum chambers and detected at their characteristic mass-to-charge ratio.

5. Contact information for all personnel going to the field with this instrument:

(for multiple investigators, please list the PI or primary contact person first)

| Name | Email | Office phone | Cell phone |
| --- | --- | --- | --- |
| 1. Andy Neuman | Andy.Neuman@noaa.gov | 303-497-7872 |  |
| 2. John Nowak | John.Nowak@noaa.gov | 303-497-4159 |  |

II.  Specific information:

1. Total installed weight:	918.4 lbs

(rack, gas cylinders, hoses, cabling, pumps, inlets, permeation tubes, etc.)

| Rack weight and balance info | Allowed | Actual |
| --- | --- | --- |
| Weight, lbs.: | 525 | 439.4 |
| Overturning moment, in-lbs.: | 15750 | 9853 |

Pod weight and CG:

NOTE: Please also provide weight-and-balance information for all installed equipment.  Templates for standard electronics racks are available for download here.  PIs with non-standard installations will need to provide relevant information in a similar format.

2.  Individual subassembly info (weights should sum to total listed above)

| Component name | Location name and flight station | Weight, lbs |
| --- | --- | --- |
| 1. Station 7 Rack | Station 7, 854 | 439.4 |
| 2. HNO3 Chamber Rack 3. NH3 Chamber Rack | Station 7 aft, 882 Station7 aft, 894 | 110 127 |
| 4. PLIN | Station 7 aft, 899 | 70 |
| 5. Busch Pumps | LIPF, 780 | 90 |
| 6. Inlet Perm Ovens | Station 7 window, 890 | 14 |
| 7. Window plate & inlets | Sta. 7 window, 890 | 27 |
| 8. BF Venturi & plumbing | LIPF, 780 | 41 |

3.  Component power consumption in Amps

| Component name | Location name | 400 Hz 3Ø | 400 Hz 1Ø | 60 Hz | 28VDC | 28VDC WOW |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Inlet Box | Station 7 Rack |  | (4) 2.5 |  |  |  |
| 2. NH3 Box | Station 7 Rack |  | (5.25) 4 |  |  |  |
| 3. HNO3 Box | Station 7 Rack |  | (5) 3.5 |  |  |  |
| 4. Flow Box | Station 7 Rack |  | (1) 1 |  |  |  |
| 5. Computer, monitor, perm | Station 7 Rack |  | (3) 3 |  |  |  |
| 6. LIPF Pump 1 | LIPF | (10) 5 |  |  |  |  |
| 7. LIPF Pump 2 | LIPF | (10) 5 |  |  |  |  |
| 8. Pump Bay Control | Station 7 Rack |  |  |  | (2) 2 |  |
| 9. Chiller | Station 7 Rack |  | (4.4) 2 |  |  |  |
| 10. |  |  |  |  |  |  |
| 11. Start-up in () |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |
|  | Totals: | (20) 10 | (22.65) 16 |  | (2) 2 |  |
|  |  | 400 Hz 3Ø | 400 Hz 1Ø | 60 Hz | 28VDC | 28VDC WOW |

4.  Inlet and exhaust information:

Inlet/exhaust name Location name and flight station Hole size through hull, inches 1. HNO3 winglet Station 7 window, 883 3.75 dia. 2. NH3 winglet Station 7 window, 893 3.75 dia. 3. Inlet Pump LIPF venturi plate, 780 .375 dia. 4. LIPF Pump 1 LIPF venturi plate, 780 .375 dia. 5. LIPF Pump 2 LIPF venturi plate, 780 .375 dia. 6. NH3 Vent Station 7 window, 890 .375 dia. 7. NH3 Scrubber Inlet Station 7 window, 895 .375 dia.

5.  Source of flow (name and location of pump or venturi)

| Pump name | Location name and flight station |
| --- | --- |
| 1. Busch Pump | LIPF, 820 |
| 2. Busch Pump | LIPF, 820 |
| 3. Inlet Pump | Station 7 Rack, 854 |
| 4. |  |
| 5. |  |
| 6. |  |

6.  Installed hazardous materials or equipment:

(only for items installed in the aircraft for use during flight)

A.  Lasers

Type:

Class:

Wavelength:

Output power:

Eye-safe?

Beam fully contained within instrument during normal operation?

For non-eye-safe lasers, please attach a description of safety measures taken (safety interlocks, beam fully enclosed within instrument, etc.) and a procedure for safe instrument operation during testing and laser alignment.  Please contact the AIC for an example of laser safety documentation from TexAQS 2006.

B.  RF transmitters:  (note that mass spectrometer RF generators are not designed to transmit, and do not need to be included here)

Description:

Transmitted RF power:

Frequency range:

C.  Radioactive materials:

Isotope: Po210

Half-life: 138.4 day

Type of emitter: alpha

Generally licensed? yes

# installed and location: 2, Station 7, attached to vacuum systems on CIMS chamber racks

# of spares and location: 2, CIMS storage bins

D.  Compressed gases: (1 ft3 = 28.32 liters; cabin volume = 4260 ft3 = 1.21 x 105 liters)

| Cylinder number: | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- |
| Gas description | SiF4 in N2 | NH3 | Acetone in N2 |  |
| Mixing ratio | 1000 ppmv SiF4 | 100% | 3% acetone |  |
| Cylinder size (ft3) | 0.06 | 171 g in Lecture Bottle | 0.1 |  |
| Max pressure (psig) | 100 | ~180 | 100 |  |
| # installed on aircraft | 1 | 1 | 1 |  |
| Location on aircraft | Sta 7 | Sta 7 | Sta 7 |  |
| Service frequency | 2 times/ mission | 1 time/ mission | 2 time/ mission |  |
| toxic/flammable gases: |  |  |  |  |
| In containment vessel? | No | Yes | No |  |
| Gas alarm provided? | No | No | No |  |
| MR if vented to cabin, ppmv | 0.014 | 1860 | 0.7 |  |
| OSHA 8-hr PEL, ppmv | 3.2 | 50 | 1000 |  |
| 30-min IDLH, ppmv |  |  |  |  |

E.  Chemicals (solids and liquids):

| Chemical number: | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| Concentration | 100% HNO3 | 100% NH3 | Perm-pure |  |  |  |
| Amount | 0.25 ml | 0.25 ml | 200 g |  |  |  |
| Container description | Perm tube | Perm Tube | Steel vessel |  |  |  |
| Purpose | Calibration | calibration | Zero |  |  |  |
| Solution pH | 1 | NA | NA |  |  |  |
| Spill kit provided? | no | no | no |  |  |  |

F.  Cryogens:

Location: Station 7 aft floor

Description: Liquid N2

Container description: PLIN

Quantity on board per flight: 10 Liters

Serviced on the aircraft? No

G.  UPS and battery installation:

Location:None

Description:  (Manufacturer, model no., power)

Battery type:

Has an adjustable input voltage tolerance? (highly recommended)!

H.  Motors

Description: 400 Hz motors for Busch RB0021 pumps (x2)

Motor current draw 3 phase, 400 Hz, 5 A running, 10 A startup (x2)

(e.g., 3Ø, 400Hz, 8A startup, 4A running)

Thermal interlock enabled? Yes

I. Operator seat requests 0

Test flights: 1

Transit flights: 0

Science flights: only when instrument issues are evident

7.  Data and plumbing drops

Network (Cat. 5/6 ethernet) drops requested: 1

Serial drops requested: none

IRIG-B drops (BNC coax connector) requested: none

Vacuum/exhaust/ emergency dump lines:

| Name | Flow rate, slpm | Line pressure, Torr | Pump type | Trace gas concentration(s) |
| --- | --- | --- | --- | --- |
| 1. Inlet pump | 12 | Ambient | Diaphragm | none |
| 2. Busch Pump | 4 | Ambient | Rotary Vane | 5 ppm Acetone |
| 3. Busch pump | 4 | Ambient | Rotary Vane | ?? |
| 4. |  |  |  |  |

Ground gas service lines (number, location, type of service): 1, through drop chute, N2 run in preflight only

Other gas lines (number, location, type of service): None

Will you be sending data to the AOC data station? No If so, please provide the following information:

| Parameter name | Voltage range | Unit conversion |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |

8.  Aircraft access

a.  flight days:

Pre-flight time requested at aircraft (hours): 3

Routine pre-flight ground support required? none

(stands, ladders, forklifts, covers, external equipment, etc.)

Routine post-flight time requested at aircraft (hours): 1 - 1.5 (depending on the use of the N2 dewar from several CIMS.  We may have to refill after flight.)

Routine post-flight ground support required? none

(stands, ladders, forklifts, covers, external equipment, etc.)

b.  non-flight days:

Routine external access to inlets or zenith mounts required? None

(please describe location, how often, for how long, type of ground support equipment needed, weather constraints, etc.)

refill N2 dewar, 1-2 hrs

Please note there is zero access and zero power to the aircraft (including pods) on hard-down days.  These occur at least once every seven calendar days while in the field.

9.  Aircraft maneuvers

Briefly describe in-flight calibration frequency, duration, altitudes desired:

Level flight legs for >1/2 hr every ~1000 ft altitude

Briefly describe instrument sensitivity to flight conditions:

(issues during roll/pitch, ascent/descent, sampling in cloud, icing etc.)

cloud sampling uncertain

10.  Miscellaneous

1.  Hazmat for preflight/postflight calibrations:  Please describe fully any additional hazardous materials - compressed gases, solvents, radioactive ion sources – that you anticipate temporarily bringing onto the aircraft for periodic instrument calibration purposes  (e.g., n-butanol in a CN counter, 210Po in a DMA, a UPS for power, compressed gas cylinders for calibrations, etc.)

None

2.  Fabrication and sheet metal support:  Please describe fully any anticipated requests for fabrication or sheet-metal support during installation in Tampa.  This list should be kept to an absolute minimum; please recognize that this superb AOC resource is quite limited.  To ease the strain on the AOC shop, we will work with each PI to ensure they arrive in Tampa with as much in hand as possible.

None

3.  Ferry flight/check flight procedures.  On occasion, AOC will perform an aircraft check flight, during which the instruments may be flown without power.  Aircraft maintenance needs may also dictate a ferry flight without science crew or SED techs on board.  Instruments should be designed with these eventualities in mind.  However, if your instrument requires standby power during this kind of flight, this may be provided at the discretion of AOC personnel.

If so, the flight crew will need to be briefed well ahead of time to ensure proper instrument operation.  Please provide with this document a bare-minimum checklist of instrument startup and shutdown procedures requested for these flights.

III.  Ground laboratory space

1.  Tampa space requests: 10x10, storage

5x5, liquid N2 dewar

Power requirements: 60 Hz, 2 A

Special requests:

2.  Field space requests:

Workspace, ft2: 5x10 work

Number of tables/chairs: 2 tables, 2 chairs

Power requirements: 2 A @ 115 V, 60 Hz

Storage space, ft2: 5 x 5 storage

Other requests: